## Primary Files
x - indicates file in folder
|  | Folder Prefix | [11 empty] | Description
Index | File Name | AL | AT | BR | BU | D | HL | MC1 | MC6 | MO | OC | PL | TMP
| CA-San_francisco.tmy2 | x | x | x | x | x | x | x | x | x | x | x | x | Sacramento weather data in TMY2 format
| XXXXX_glmfile_ts.glm | x | x | x | x | x | x | x | x | x | x | x | x | Main GLM file to run GridLab-D simulation for time series simulations.
| XXXXX_glmfile_equip_manual.glm | x | x | x | x | x | x | x | x | x | x | x |  | Capacitor and regulators on manual control
| XXXXX_glmfile_equip_volt.glm | x | x | x | x | x | x | x | x | x | x | x |  | Capacitor and regulators on local voltage control
| XXXXX_glmfile_equip_vvo.glm | [6 empty] | x | x |  | x |  |  | Capacitor and regulators on GridLAB-D VVO control
| XXXXX_glmfile_loads.glm | x | x | x | x | x | x | x | x | x | x | x | x | Loads in the network
| XXXXX_glmfile_PVcenter.glm | x | x | x | x | x | x | x | x | x | x | x |  | PV is located at feeder center
| XXXXX_glmfile_PVdist.glm | x | x | x | x | x | x | x | x | x | x | x |  | Distributed PV
| XXXXX_glmfile_PVend.glm | x | x | x | x | x | x | x | x | x | x | x |  | PV is located at feeder end
| XXXXX_glmfile_PVend_flicker.glm | x |  |  | x |  | x |  | x | x | x |  |  | PV is located at feeder end. PV flicker.
| XXXXX_glmfile_PVend_smartInv.glm | x | [8 empty] | x |  |  | PV is located at feeder end. Smart inverter.
| XXXXX_glmfile_PVLargedist.glm | x | [11 empty] | Distributed PV with larger individual capacity
| XXXXX_glmfile_PV1.glm | [11 empty] | x | Distributed PV. Used only for TMP feeder (experimental)
| XXXXX_glmfile_VVO.glm | [11 empty] | x | Capacitor and regulators on GridLAB-D VVO control (used for TMP only - experimental)
| XXXXX_glmfile_VVO_manual.glm |  |  | x | [9 empty] | Capacitor and regulators on manual control
| XXXXX_glmfile_VVO_volt.glm |  |  | x | [9 empty] | Capacitor and regulators on local voltage control
| XXXXX_glmfile.glm |  |  | x | [8 empty] | x | Main GLM file to run GridLab-D simulation for single time snapshot. Used for debugging.
| load_schedule_nominal.glm | [10 empty] | x | x | Nominal load schedule
| load_schedule_OFP.glm | x | x |  | x | x | x | x | x | x | x | x |  | Load schedule scale to represent off peak
| load_schedule_OP.glm | x | x |  | x | x | x | x | x | x | x | x |  | Load schedule scale to represent on peak
| load_schedule_PP.glm | x | x |  | x | x | x | x | x | x | x | x |  | Load schedule scale to represent partial peak
| Smart_Inverter_schedule.glm | x | [8 empty] | x |  |  | Smart inverter schedule
| solar-diff-flicker.csv | x |  |  | x |  | x |  | x | x |  |  |  | Weather data extracted from TMY2 and added flicker
| solar-diff-no-flicker.csv | x |  |  | x |  | x |  | x | x |  |  |  | Weather data extracted from TMY2 and no flicker added

## Secondary Files
x - indicates file in folder
Folder Name
| Topology_trans-at-end | smartInverter | InvShutoffFlicker | EV | CloundShadingFlicker | Topology_trans-at-center | Description
CA-Sacramento.tmy2 | x | x | x | x |  | x | Sacramento weather data in TMY2 format
CaseDistributedPV2-InvShutoff.glm | x | [5 empty] | Distributed PV with inverter shut off simulation
CaseDistributedPV2-SmartInv.glm | x | [5 empty] | Distributed PV with smart inverter simulation
House_appliance_schedule.glm | x | x | x | x | x | x | House appliance schedule
Smart_Inverter_schedule.glm |  | x | x |  |  |  | Smart inverter schedule
solar-diff-flicker.csv |  |  |  |  | x |  | Weather data extracted from TMY2 and added flicker
solar-diff-no-flicker.csv |  |  |  |  | x |  | Weather data extracted from TMY2 and no flicker added
Topoend-OFP_base.glm | x | [5 empty] | Transformer at end of the feeder secondary: off peak load base case
Topoend-OFP_largerPVdist.glm | x | [5 empty] | Transformer at end of the feeder secondary: off peak load with large distributed PV
Topoend-OFP_largerPVdistLongCables.glm | x | [5 empty] | Transformer at end of the feeder secondary: off peak load with large distributed PV and long cable runs
Topoend-OFP_PVdist.glm | x | x | x |  |  |  | Transformer at end of the feeder secondary: off peak load with distributed PV
Topoend-OFP_PVdist_InvShutOff.glm |  |  | x |  |  |  | Transformer at end of the feeder secondary: off peak load with distributed PV and inverter shut off simulation
Topoend-OFP_PVdist_smartInv.glm |  | x |  |  |  |  | Transformer at end of the feeder secondary: off peak load with distributed PV and smart inverter simulation
Topoend-OP_base.glm | x | [5 empty] | Transformer at end of the feeder secondary: on peak load base case
Topoend-OP_largerPVdist.glm | x | [5 empty] | Transformer at end of the feeder secondary: on peak load with large distributed PV
Topoend-OP_PVdist.glm | x |  |  |  | x |  | Transformer at end of the feeder secondary: on peak load with distributed PV
Topoend-PP_base.glm | x | [5 empty] | Transformer at end of the feeder secondary: partial peak load base case
Topoend-PP_largerPVdist.glm | x | [5 empty] | Transformer at end of the feeder secondary: partial peak load with large distributed PV
Topoend-PP_PVdist.glm | x | [5 empty] | Transformer at end of the feeder secondary: partial peak load with distributed PV
TopoCenter-OFP_base.glm | [5 empty] | x | Transformer at center of the feeder secondary: off peak load base case
TopoCenter-OFP_largerPVdistLongCables.glm | [5 empty] | x | Transformer at center of the feeder secondary: off peak load with large distributed PV and long cable runs
TopoCenter-OFP_PVdist.glm | [5 empty] | x | Transformer at center of the feeder secondary: off peak load with distributed PV
TopoCenter-OP_base.glm | [5 empty] | x | Transformer at center of the feeder secondary: on peak load base case
TopoCenter-OP_PVdist.glm | [5 empty] | x | Transformer at center of the feeder secondary: on peak load with distributed PV
TopoCenter-PP_base.glm | [5 empty] | x | Transformer at center of the feeder secondary: partial peak load base case
TopoCenter-PP_PVdist.glm | [5 empty] | x | Transformer at center of the feeder secondary: partial peak load with distributed PV
TopoCenter-OFP_PVdistLongCables.glm | [5 empty] | x | Transformer at center of the feeder secondary: off peak load with distributed PV and long cable runs
TopoCenter-OP_PVdistLongCables.glm | [5 empty] | x | Transformer at center of the feeder secondary: on peak load with distributed PV and long cable runs
TopoCenter-OP_largerPVdistLongCables.glm | [5 empty] | x | Transformer at center of the feeder secondary: on peak load with large distributed PV and long cable runs
TopoCenter-PP_PVdistLongCables.glm | [5 empty] | x | Transformer at center of the feeder secondary: partial peak load with distributed PV and long cable runs
TopoCenter-PP_largerPVdistLongCables.glm | [5 empty] | x | Transformer at center of the feeder secondary: partial peak load with large distributed PV and long cable runs
TopoXrCenter-PV-EV.glm |  |  |  | x |  |  | Transformer at center of the feeder secondary: PV and EV
TopoXrCenter-PV-NoEV.glm |  |  |  | x |  |  | Transformer at center of the feeder secondary: PV but no EV